## Slide 2: Ljubljana Damage Constant Calculation Using DepV, I(600V) and I(800V)

## Slide 3: Unirradiated D0 W/ and W/O GR Attached

## Slide 4: irradiated D0 W/ and W/O GR Attached

## Slide 5: irradiated D0 W/ and W/O GR Attached
Bias current saturates near depletion voltage when GR is connected

## Slide 6: D0 Curves
CO148 OT 6 56 min
CO149 OT 6 56 min
CO152 OT 6 56 min
CO151 OT 6 56 min

## Slide 7: D0 Curves
CO155 OT 7 56 min
CO154 OT 7 56 min
CO153 OT 7 56 min
CO150 OT 7 56 min

## Slide 8: D0 Curves
CO156 Gamma 10 min
CO157 Gamma 10 min
CO159 OT 8 20 min
CO158 OT 8 20 min

## Slide 9: D0 Curves
CO161 OT 8 20 min
CO160 OT 8 20 min