## Pin155_Irradiated_7_27_2021_4_5
Date/Time: 7/27/2021 4:57:16 PM
Sensor Name: Pin155
Type: N
Annealing Status: Irradiated, Not Annealed
Environment: RT
Tester: Andrew Kent
Time Delay per Ramp Step (s): 0.500
Vf: 105.720000
Avg: 105.202000
Std Dev: 1.157596 | [6 empty] | Average Vf at 0.2mA | 26.984
Min: 101.880000 | [6 empty] | Average Vf at 0.4mA | 50.3853
Max: 106.290000 | [6 empty] | Average Vf at 0.6mA | 70.9993
[7 empty] | Average Vf at 0.8mA | 89.0427
Time | I | 0.000000s | Temperature | Air_Temp | Humidity | Dewpoint | Average Vf at 1.0mA | 105.2067
3710263955.8301 | 0.0002 | 25.77 | 5.6312 | 15.7758 | 41.8805 | 2.8615 | Average Vf at 1.2mA | 119.1733
3710263957.0858 | 0.0004 | 48.26 | 5.6312 | 15.7758 | 41.8805 | 2.8615 | Average Vf at 1.4mA | 131.5333
3710263958.579 | 0.0006 | 68.27 | 5.5466 | 15.7276 | 41.8552 | 2.8096 | Average Vf at 1.6mA | 142.56
3710263959.8591 | 0.0008 | 85.8 | 5.5466 | 15.7276 | 41.8552 | 2.8096 | Average Vf at 1.8mA | 152.3733
3710263961.1291 | 0.001 | 101.9 | 5.5466 | 15.7276 | 41.8552 | 2.8096 | Average Vf at 2.0mA | 161.32
3710263962.5785 | 0.0012 | 115.9 | 5.5158 | 15.7426 | 41.8707 | 2.8283
3710263963.8601 | 0.0014 | 128.3 | 5.5158 | 15.7426 | 41.8707 | 2.8283
3710263965.129 | 0.0016 | 139.3 | 5.5158 | 15.7426 | 41.8707 | 2.8283
3710263966.5748 | 0.0018 | 149.4 | 5.5415 | 15.7228 | 41.919 | 2.8268
3710263967.8532 | 0.002 | 158.3 | 5.5415 | 15.7228 | 41.919 | 2.8268
3710263975.8304 | 0.0002 | 26.36 | 5.726 | 15.7287 | 41.9573 | 2.8449
3710263977.0777 | 0.0004 | 49.33 | 5.726 | 15.7287 | 41.9573 | 2.8449
3710263978.5309 | 0.0006 | 69.7 | 5.8618 | 15.7072 | 41.9118 | 2.8102
3710263979.8081 | 0.0008 | 87.39 | 5.8618 | 15.7072 | 41.9118 | 2.8102
3710263981.0768 | 0.001 | 103.6 | 5.8618 | 15.7072 | 41.9118 | 2.8102
3710263982.5076 | 0.0012 | 117.6 | 5.9874 | 15.7606 | 41.8476 | 2.8368
3710263983.7759 | 0.0014 | 130 | 5.9874 | 15.7606 | 41.8476 | 2.8368
3710263985.0403 | 0.0016 | 141.1 | 5.9874 | 15.7606 | 41.8476 | 2.8368
3710263986.4785 | 0.0018 | 150.9 | 6.0951 | 15.6813 | 41.8786 | 2.7758
3710263987.7469 | 0.002 | 159.8 | 6.0951 | 15.6813 | 41.8786 | 2.7758
3710263995.8306 | 0.0002 | 26.7 | 6.1848 | 15.6995 | 41.8438 | 2.7804
3710263997.0792 | 0.0004 | 49.95 | 6.1848 | 15.6995 | 41.8438 | 2.7804
3710263998.5198 | 0.0006 | 70.5 | 6.1617 | 15.7412 | 41.8656 | 2.8254
3710263999.7976 | 0.0008 | 88.31 | 6.1617 | 15.7412 | 41.8656 | 2.8254
3710264001.0728 | 0.001 | 104.6 | 6.1617 | 15.7412 | 41.8656 | 2.8254
3710264002.5168 | 0.0012 | 118.6 | 6.0823 | 15.7797 | 41.8438 | 2.8527
3710264003.7798 | 0.0014 | 130.9 | 6.0823 | 15.7797 | 41.8438 | 2.8527
3710264005.0519 | 0.0016 | 142 | 6.0823 | 15.7797 | 41.8438 | 2.8527
3710264006.5054 | 0.0018 | 151.8 | 5.9797 | 15.7456 | 41.791 | 2.8042
3710264007.7654 | 0.002 | 160.6 | 5.9797 | 15.7456 | 41.791 | 2.8042
3710264015.8306 | 0.0002 | 26.86 | 5.7491 | 15.6653 | 41.809 | 2.7379
3710264017.0826 | 0.0004 | 50.12 | 5.7491 | 15.6653 | 41.809 | 2.7379
3710264018.5093 | 0.0006 | 70.62 | 5.6389 | 15.757 | 41.7808 | 2.8111
3710264019.789 | 0.0008 | 88.43 | 5.6389 | 15.757 | 41.7808 | 2.8111
3710264021.0684 | 0.001 | 104.7 | 5.6389 | 15.757 | 41.7808 | 2.8111
3710264022.5055 | 0.0012 | 118.5 | 5.562 | 15.6743 | 41.7868 | 2.7386
3710264023.7773 | 0.0014 | 130.7 | 5.562 | 15.6743 | 41.7868 | 2.7386
3710264025.0403 | 0.0016 | 141.8 | 5.562 | 15.6743 | 41.7868 | 2.7386
3710264026.4738 | 0.0018 | 151.7 | 5.5158 | 15.6739 | 41.859 | 2.7624
3710264027.7436 | 0.002 | 160.6 | 5.5158 | 15.6739 | 41.859 | 2.7624
3710264035.8305 | 0.0002 | 26.78 | 5.5543 | 15.7015 | 41.9491 | 2.8176
3710264037.0835 | 0.0004 | 50.03 | 5.5543 | 15.7015 | 41.9491 | 2.8176
3710264038.5235 | 0.0006 | 70.58 | 5.6286 | 15.6335 | 42.1053 | 2.8086
3710264039.7901 | 0.0008 | 88.4 | 5.6286 | 15.6335 | 42.1053 | 2.8086
3710264041.0621 | 0.001 | 104.7 | 5.6286 | 15.6335 | 42.1053 | 2.8086
3710264042.5033 | 0.0012 | 118.7 | 5.726 | 15.7087 | 42.1139 | 2.8794
3710264043.7874 | 0.0014 | 131.1 | 5.726 | 15.7087 | 42.1139 | 2.8794
3710264045.064 | 0.0016 | 142.2 | 5.726 | 15.7087 | 42.1139 | 2.8794
3710264046.5091 | 0.0018 | 152 | 5.8516 | 15.7465 | 42.0696 | 2.8986
3710264047.7756 | 0.002 | 160.9 | 5.8516 | 15.7465 | 42.0696 | 2.8986
3710264055.8311 | 0.0002 | 27.01 | 6.0772 | 15.6396 | 41.9696 | 2.7688
3710264057.082 | 0.0004 | 50.45 | 6.0772 | 15.6396 | 41.9696 | 2.7688
3710264058.5328 | 0.0006 | 71.07 | 6.1694 | 15.6859 | 41.9045 | 2.7886
3710264059.8094 | 0.0008 | 88.93 | 6.1694 | 15.6859 | 41.9045 | 2.7886
3710264061.0777 | 0.001 | 105.2 | 6.1694 | 15.6859 | 41.9045 | 2.7886
3710264062.5083 | 0.0012 | 119.3 | 6.2053 | 15.661 | 41.8498 | 2.7478
3710264063.7743 | 0.0014 | 131.7 | 6.2053 | 15.661 | 41.8498 | 2.7478
3710264065.0474 | 0.0016 | 142.7 | 6.2053 | 15.661 | 41.8498 | 2.7478
3710264066.4936 | 0.0018 | 152.5 | 6.1899 | 15.7204 | 41.784 | 2.7791
3710264067.7631 | 0.002 | 161.5 | 6.1899 | 15.7204 | 41.784 | 2.7791
3710264075.8328 | 0.0002 | 27.15 | 6.0233 | 15.688 | 41.6822 | 2.7156
3710264077.0906 | 0.0004 | 50.67 | 6.0233 | 15.688 | 41.6822 | 2.7156
3710264078.5452 | 0.0006 | 71.39 | 5.89 | 15.6601 | 41.6404 | 2.6764
3710264079.8196 | 0.0008 | 89.27 | 5.89 | 15.6601 | 41.6404 | 2.6764
3710264081.0874 | 0.001 | 105.6 | 5.89 | 15.6601 | 41.6404 | 2.6764
3710264082.5227 | 0.0012 | 119.4 | 5.7516 | 15.6956 | 41.6322 | 2.7056
3710264083.7902 | 0.0014 | 131.7 | 5.7516 | 15.6956 | 41.6322 | 2.7056
3710264085.0633 | 0.0016 | 142.6 | 5.7516 | 15.6956 | 41.6322 | 2.7056
3710264086.5201 | 0.0018 | 152.4 | 5.6286 | 15.6404 | 41.6569 | 2.6642
3710264087.789 | 0.002 | 161.5 | 5.6286 | 15.6404 | 41.6569 | 2.6642
3710264095.8333 | 0.0002 | 27.17 | 5.4338 | 15.6534 | 41.7669 | 2.713
3710264097.0843 | 0.0004 | 50.75 | 5.4338 | 15.6534 | 41.7669 | 2.713
3710264098.5297 | 0.0006 | 71.41 | 5.3851 | 15.5923 | 41.7935 | 2.667
3710264099.8006 | 0.0008 | 89.33 | 5.3851 | 15.5923 | 41.7935 | 2.667
3710264101.0682 | 0.001 | 105.8 | 5.3851 | 15.5923 | 41.7935 | 2.667
3710264102.5064 | 0.0012 | 119.8 | 5.3877 | 15.5736 | 41.8042 | 2.6537
3710264103.7719 | 0.0014 | 132.2 | 5.3877 | 15.5736 | 41.8042 | 2.6537
3710264105.0371 | 0.0016 | 143.3 | 5.3877 | 15.5736 | 41.8042 | 2.6537
3710264106.4817 | 0.0018 | 153.1 | 5.4466 | 15.568 | 41.791 | 2.6442
3710264107.7551 | 0.002 | 162.1 | 5.4466 | 15.568 | 41.791 | 2.6442
3710264115.8342 | 0.0002 | 27.32 | 5.6594 | 15.601 | 41.7865 | 2.6724
3710264117.0851 | 0.0004 | 50.98 | 5.6594 | 15.601 | 41.7865 | 2.6724
3710264118.5357 | 0.0006 | 71.77 | 5.7978 | 15.6058 | 41.7767 | 2.6735
3710264119.8038 | 0.0008 | 90.26 | 5.7978 | 15.6058 | 41.7767 | 2.6735
3710264121.0791 | 0.001 | 106.3 | 5.7978 | 15.6058 | 41.7767 | 2.6735
3710264122.5343 | 0.0012 | 120.3 | 5.9105 | 15.5692 | 41.7432 | 2.6292
3710264123.7997 | 0.0014 | 132.7 | 5.9105 | 15.5692 | 41.7432 | 2.6292
3710264125.0697 | 0.0016 | 143.7 | 5.9105 | 15.5692 | 41.7432 | 2.6292
3710264126.5144 | 0.0018 | 153.4 | 5.99 | 15.5972 | 41.7204 | 2.6467
3710264127.7898 | 0.002 | 162.5 | 5.99 | 15.5972 | 41.7204 | 2.6467
3710264135.8349 | 0.0002 | 27.34 | 6.0054 | 15.6876 | 41.6626 | 2.7087
3710264137.081 | 0.0004 | 51.01 | 6.0054 | 15.6876 | 41.6626 | 2.7087
3710264138.532 | 0.0006 | 71.78 | 5.9259 | 15.641 | 41.6575 | 2.6649
3710264139.8059 | 0.0008 | 90.34 | 5.9259 | 15.641 | 41.6575 | 2.6649
3710264141.078 | 0.001 | 106.1 | 5.9259 | 15.641 | 41.6575 | 2.6649
3710264142.5174 | 0.0012 | 120.1 | 5.8234 | 15.6081 | 41.6452 | 2.6311
3710264143.7911 | 0.0014 | 132.4 | 5.8234 | 15.6081 | 41.6452 | 2.6311
3710264145.0603 | 0.0016 | 143.4 | 5.8234 | 15.6081 | 41.6452 | 2.6311
3710264146.5155 | 0.0018 | 153.1 | 5.6952 | 15.5779 | 41.6265 | 2.5977
3710264147.7881 | 0.002 | 162 | 5.6952 | 15.5779 | 41.6265 | 2.5977
3710264155.8352 | 0.0002 | 27.2 | 5.4697 | 15.6117 | 41.7008 | 2.6532
3710264157.0871 | 0.0004 | 50.73 | 5.4697 | 15.6117 | 41.7008 | 2.6532
3710264158.5172 | 0.0006 | 71.44 | 5.3723 | 15.5509 | 41.728 | 2.6076
3710264159.787 | 0.0008 | 89.35 | 5.3723 | 15.5509 | 41.728 | 2.6076
3710264161.058 | 0.001 | 105.7 | 5.3723 | 15.5509 | 41.728 | 2.6076
3710264162.5009 | 0.0012 | 119.7 | 5.3108 | 15.6 | 41.729 | 2.6522
3710264163.7774 | 0.0014 | 132.2 | 5.3108 | 15.6 | 41.729 | 2.6522
3710264165.0494 | 0.0016 | 143 | 5.3108 | 15.6 | 41.729 | 2.6522
3710264166.4843 | 0.0018 | 152.8 | 5.2929 | 15.6122 | 41.7948 | 2.6853
3710264167.7586 | 0.002 | 161.8 | 5.2929 | 15.6122 | 41.7948 | 2.6853
3710264175.835 | 0.0002 | 27.23 | 5.3928 | 15.5947 | 41.8808 | 2.6985
3710264177.0822 | 0.0004 | 50.79 | 5.3928 | 15.5947 | 41.8808 | 2.6985
3710264178.5736 | 0.0006 | 71.55 | 5.5184 | 15.5776 | 41.8744 | 2.6809
3710264179.8456 | 0.0008 | 90.05 | 5.5184 | 15.5776 | 41.8744 | 2.6809
3710264181.1111 | 0.001 | 105.9 | 5.5184 | 15.5776 | 41.8744 | 2.6809
3710264182.5563 | 0.0012 | 119.7 | 5.6824 | 15.5407 | 41.8245 | 2.6308
3710264183.8361 | 0.0014 | 132.1 | 5.6824 | 15.5407 | 41.8245 | 2.6308
3710264185.1111 | 0.0016 | 143.1 | 5.6824 | 15.5407 | 41.8245 | 2.6308
3710264186.5582 | 0.0018 | 152.9 | 5.8234 | 15.5414 | 41.8678 | 2.646
3710264187.8322 | 0.002 | 161.9 | 5.8234 | 15.5414 | 41.8678 | 2.646
3710264195.8352 | 0.0002 | 27.25 | 6.0413 | 15.5797 | 41.8909 | 2.6883
3710264197.0949 | 0.0004 | 50.88 | 6.0413 | 15.5797 | 41.8909 | 2.6883
3710264198.5383 | 0.0006 | 71.68 | 6.0772 | 15.5571 | 41.9016 | 2.6715
3710264199.8083 | 0.0008 | 90.27 | 6.0772 | 15.5571 | 41.9016 | 2.6715
3710264201.08 | 0.001 | 106.2 | 6.0772 | 15.5571 | 41.9016 | 2.6715
3710264202.5231 | 0.0012 | 120.3 | 6.0515 | 15.5474 | 41.8732 | 2.6532
3710264203.7945 | 0.0014 | 132.6 | 6.0515 | 15.5474 | 41.8732 | 2.6532
3710264205.0646 | 0.0016 | 143.6 | 6.0515 | 15.5474 | 41.8732 | 2.6532
3710264206.5075 | 0.0018 | 153.4 | 5.9823 | 15.5483 | 41.8384 | 2.6424
3710264207.7813 | 0.002 | 162.3 | 5.9823 | 15.5483 | 41.8384 | 2.6424
3710264215.8346 | 0.0002 | 27.35 | 5.7747 | 15.4917 | 41.7805 | 2.5719
3710264217.0873 | 0.0004 | 51 | 5.7747 | 15.4917 | 41.7805 | 2.5719
3710264218.5421 | 0.0006 | 71.67 | 5.6209 | 15.4967 | 41.8558 | 2.6017
3710264219.8131 | 0.0008 | 90.12 | 5.6209 | 15.4967 | 41.8558 | 2.6017
3710264221.0812 | 0.001 | 106.1 | 5.6209 | 15.4967 | 41.8558 | 2.6017
3710264222.5379 | 0.0012 | 120.2 | 5.4877 | 15.5396 | 41.9165 | 2.6607
3710264223.8114 | 0.0014 | 132.6 | 5.4877 | 15.5396 | 41.9165 | 2.6607
3710264225.0768 | 0.0016 | 143.6 | 5.4877 | 15.5396 | 41.9165 | 2.6607
3710264226.5271 | 0.0018 | 153.4 | 5.3749 | 15.4928 | 41.9576 | 2.6323
3710264227.8024 | 0.002 | 162.4 | 5.3749 | 15.4928 | 41.9576 | 2.6323
3710264235.8356 | 0.0002 | 27.27 | 5.2288 | 15.539 | 42.0174 | 2.694
3710264237.0782 | 0.0004 | 50.83 | 5.2288 | 15.539 | 42.0174 | 2.694
3710264238.5188 | 0.0006 | 71.56 | 5.2442 | 15.5884 | 41.9772 | 2.7251
3710264239.7941 | 0.0008 | 89.39 | 5.2442 | 15.5884 | 41.9772 | 2.7251
3710264241.0641 | 0.001 | 105.7 | 5.2442 | 15.5884 | 41.9772 | 2.7251
3710264242.5036 | 0.0012 | 119.5 | 5.3134 | 15.4926 | 41.9706 | 2.6366
3710264243.7759 | 0.0014 | 131.8 | 5.3134 | 15.4926 | 41.9706 | 2.6366
3710264245.0472 | 0.0016 | 143 | 5.3134 | 15.4926 | 41.9706 | 2.6366
3710264246.4854 | 0.0018 | 152.8 | 5.4313 | 15.4699 | 41.9627 | 2.6134
3710264247.7544 | 0.002 | 161.6 | 5.4313 | 15.4699 | 41.9627 | 2.6134